TABLE OF CONTENTS

SECTION 1 – GENERAL PROVISIONS

  - Purpose and Policy…………………………………………………...1-2

  - Administration………………………………………………………….2

  - Definitions……………………………………………………………2-9

  - Abbreviations……………………………………………………….9-10

SECTION 2 - GENERAL WASTEWATER USE REGULATIONS

  - Prohibited Discharge Standards……………………………………….13

  - Federal Categorical Pretreatment Standards…………………………..13

  - State Requirements……………………………………………………13

  - City’s Right of Revision………………………………………………13

  - Specific Pollutant Limitations……………………………………..13-14

  - Excessive Discharge…………………………………………………..15

SECTION 3 - FEES

  - Purpose…………………………………………………………….14-15

  - Charges and Fees……………………………………………………...15

SECTION 4 - ADMINISTRATION

  - Wastewater Dischargers………………………………………………15

  - Wastewater Discharge Permits………………………………………..16

4.2.1 General Permits………………………………………………………16

4.2.2 Industrial Wastewater Questionnaire……………………………..16-17

4.2.3 Permit Application……………………………………………………17

4.2.4 Permit Appeals……………………………………………………18-19

4.2.5 Permit Modifications……………………………………………...19-20

4.2.6 Permit Conditions…………………………………………………20-21

4.2.7 Permit Duration….................................................................................21

4.2.8 Permit Transfer……………………………………………………21-22

  - Reporting Requirements for Permitee…………………………………22

4.3.1 Compliance Date Report……………………………………………....22

4.3.2 Periodic Compliance Reports……………………………………...23-24

4.3.3 Baseline Monitoring Reports………………………………………24-26

4.3.4 Report of Changed Conditions………………………….……………. 26

4.3.5 Report of Potential Problems,

Including Slug Loading…………………………………………….26-27

4.3.6 Notice of Violation…………………………………………………….27

4.4	Monitoring Facilities…………………………………………………...28

4.5	Industrial Effluent Monitoring……………………………………...28-32

4.5.1 Inspection and Sampling…………………………………………...28-30

4.5.2 Compliance Monitoring………………………………………………..30

4.5.3 Analytical Requirements……………………………………………....31

4.5.4 Sample Collection……………………………………………………..31

4.5.5 Record Keeping………………………………………………………..32

4.5.6 Fraud and False Statements…………………………………………....32

4.6 Pretreatment of Wastewater	33-37

4.6.1 Pretreatment Facilities	33

4.6.2 Additional Pretreatment Measures	34-35

4.6.3 Accidental Discharge/Slug Loading Control	35

4.6.4 Hauled Wastewater	36-37

4.7 Confidential Information	37-38

4.8 Publication of Industrial Users

in Significant Noncompliance	39-40

SECTION 5 - INSUSTRIAL SURCHARGE

5.1  COSTS	40-42

SECTION 6 - ENFORCEMENT

6.1 Harmful Contributions	42

6.2 Revocation of Wastewater Discharge Permit	43-44

6.3 Notification of Violation	44

6.4 Show Cause Hearing	44-46

6.4.1 Notification of Hearing	44-46

6.4.2 Hearing	45

6.4.3 Transcription of Hearing	45

6.4.4 Decision of Chief Executive Officer	46

6.4.5 Termination of Discharge	46

6.5 Consent Orders	47

6.6 Compliance Orders	47-48

6.7 Cease and Desist Orders	48

6.8 Legal Action	48-49

SECTION 7 - JUDICIAL ENFORCEMENT REMEDIES

7.1 Injunctive Relief	49

7.2 Civil Penalties	49

7.3 Criminal Prosecution	50-51

7.4 Remedies Nonexclusive	51-52

SECTION 8 - AFFIRMATIVE DEFENSE TO DISCHARGE VIOLATIONS

8.1 Upset	52-54

8.2 Bypass	54-56

SECTION 9 - SEVERABILITY	56

SECTION 10 - CONFLICT	56

SECTION 11 - EFFECTIVE DATE	56-57

REVISED 7/19/2002

ORDINANCE NO. ___________

AN ORDINANCE SETTING FORTH UNIFORM REQUIREMENTS FOR DIRECT AND INDIRECT CONTRIBUTORS INTO THE WASTEWATER COLLECTION SYSTEM AND THE WASTEWATER TREATMENT SYSTEM FOR THE CITY OF CONWAY, ARKANSAS AND FOR OTHER PURPOSES.

BE IT ORDAINED BY THE CITY OF CONWAY, ARKANSAS THAT:

SECTION 1 – GENERAL PROVISIONS

  - Purpose and Policy

This ordinance sets forth inform requirement for direct and indirect contributors into the wastewater collection and treatment systems of the city of Conway, Arkansas and enables the City to comply with all applicable State and Federal Laws required by the Clean Water Act of 1977 (Public Law 95-217 and 33 U.S.C. 1251 et.seq.) and the General Pretreatment Regulations (40 CFR, Part 403).

The objectives of this ordinance are:

- To prevent the introduction of pollutants into the city’s Wastewater System that will interfere with the operation of the System or contaminate the resulting sludge;

- To prevent the introduction of pollutants into the City’s Wastewater System that will pass through the system. inadequately treated, into the receiving waters, the atmosphere or otherwise be incompatible with the system;

- To improve the opportunity to recycle and reclaim wastewaters and sludge’s from the systems;

- To provide for the equitable distribution of the cost of the City’s Wastewater System;

- To protect wastewater system employees who may be affected by wastewater and sludge in the performance of their jobs and the general public; and to enable Conway to comply with its National Pollutant Discharge Elimination System (NPDES) Permit Conditions, Sludge Use and Disposal Requirements, and other Federal and State Laws to which the City’s Wastewater System is subject.

This ordinance provides for the regulation of direct and indirect contributors to the city wastewater system through the issuance of permits to non-domestic users and through the authorizes monitoring, compliance and enforcement activities; requires user reporting, assumes that existing customers capacity will not be preempted, and provides for the setting of fees for the equitable distribution of costs resulting from the program established herein.

This ordinance shall apply to all contributors to the Wastewater System of the City of Conway, Arkansas.  This ordinance is a supplement to City Ordinance No. 0-89-14, as amended.

  - Administration

Except as otherwise provided herein, the Chief Executive Officer (CEO) of Conway Corporation, Operators of the City’s wastewater systems, shall administer, implement and enforce the provisions of this ordinance.  Any powers granted to or duties imposed upon the CEO may be delegated by the CEO to other Conway Corporation personnel.

  - Definitions

Unless the context specifically indicates otherwise, the following terms and phrases, as used in this ordinance, shall have the meanings hereinafter designated:

1)	Act or “the Act”   The Federal Water Pollution Control Act, also known as the Clean Water Act, as amended, 33 U.S.C. 1251, et. Seq. [40CFR 403.3 (b)].

2)      Approval Authority   The Director of the Arkansas Department of Environmental Quality.

3)      Authorized Representative of Industrial User

  - If user is a corporation, the president , secretary, treasurer, or a vice-president of the corporation in charge of a principal business function, or any other person who performs similar policy or decision-making functions for the corporation.

  - If user is a partnership or sole proprietorship: a general partner or proprietor, respectively.

  - If user is a Federal, State. or Local governmental facility: a director or highest official, or their designee.

  - The individuals described in paragraphs a) through c), above, may designate another authorized representative if the authorization is in writing, the authorization specifies the individual or position responsible for the overall operation of the facility from which the discharge originates or having overall responsibility for environmental matters for the company, and the written authorization is submitted to the Conway Corporation.

4)      Biochemical Oxygen Demand (BOD)   The quantity of oxygen utilized in the biochemical oxidation of organic matter under standard laboratory procedure, five (5) days at 20 degrees centigrade expressed in terms of weight and concentration (milligrams per liter (mg/1).

5)      Building Sewer  A sewer service line conveying wastewater from the customers building of buildings to the City’s sewer collection system.

7)      Categorical Pretreatment Standard or Categorical Standard   Any regulation containing pollutant discharge limits promulgated by EPA in accordance with Sections 307 (b) and (c) of the Act (33 U.S.C. 1317) which applies to Industrial users.  This term includes prohibitive discharge limits established pursuant to 403.5.

8)      Chief Executive Officer (CEO)   The CEO of the Conway Corporation, or his daily authorized representative.

9)     City   The City of Conway, Arkansas, or its designated agent.

10)     Composite Sample   The sample resulting from the combination of individual wastewater samples taken at selected intervals based on an increment of either flow or time.  (40 CFR 403 Appendix E).

11)     Cooling Water   The water discharged from any air conditioning equipment, water-cooled equipment, or refrigeration, or to which the only pollutant added is heat.

12)     Control Authority   The CEO of the Conway Corporation acting for the City, which has an approved pretreatment program under the provisions of 40 CFR 403.11.

13)     Corporation   The Conway Corporation, operators of the City’s Wastewater System.

14)     Direct Discharge   The discharge of treated or untreated wastewater directly to the waters of the State of Arkansas.

15)     Environmental Protection Agency (EPA)   The U.S. Environmental Protection Agency, or where appropriate the term may also be used as a designation for the Administrator or other authorized official of said agency.

16)   Existing Source   Any source of discharge, the construction or operation of which commenced prior to the publication of proposed categorical pretreatment standards, which will be applicable to such source if the standard is thereafter promulgated in accordance with Section 307 of the Act.

17)     Grab Sample   An individual sample collected over a period of time not exceeding 15 minutes (403, Appendix E).

18)     Holding Tank Waste   Any waste from holding tanks such as vessels, chemical toilets, campers, trailers, septic tanks, and vacuum-pump tank trucks.

19)     Indirect Discharge   The discharge or the introduction of non-domestic pollutants from any source regulated under Section 307 (b), (c) or (d) of the Act, (33 U.S.C. 1317), into the POTW (including holding tank waste discharged into the system).  (40 CFR 403.3 (g) )

20)     Industrial User or Users   A source of Indirect Discharge.  (40 CFR 403.3 (h) )

21)     Interference   A discharge which alone or in conjunction with a discharge or discharges from the other sources, both:  (1) Inhibits or disrupts the POTW, its treatment process or operations or is sludge processes, use or disposal; and (2) Therefore is a cause of a violation of Conway’s NPDES Permit or of the prevention of sewage sludge use or disposal in compliance with any of the following statutory/regulatory provisions or permits issued thereunder or more stringent state of local regulations:  Section 405 of the Clean Water Act; The Solid Waste Disposal Act (SWDA), including Title II commonly referred to as the Resource Conservation and Recovery Act (RCRA); Any State regulations contained in any State sludge management plan prepared pursuant to Subtitle D of the SWDA; the Clean Water Act; the Toxic Substances Control Act; and the Marine Protection, Research and Sanctuaries Act.  (40 CFR 403.3 (i) )

22)     Maximum Allowable Discharge Limit   The maximum amount of a pollutant, in ppm, ppb, or lbs., that may be discharged from a Wastewater Treatment Plant to a stream or from an industry to a Wastewater System.

23)     Medical Wastes   Isolation waste, infectious agents, human blood and blood byproducts, pathological wastes, sharps, body parts, contaminated bedding, surgical wastes, potentially contaminated laboratory wastes and dialysis wastes.

24)  National Prohibitive Discharge Standard or Prohibitive Discharge Standard

Any regulation containing pollutant discharge limits promulgated by the EPA in               accordance with 307 (b) and (c) of the Act, which applies to Industrial Users.  This term includes prohibitive discharge limits established pursuant to 40 CFR Section 403.5.

25)  New Source

  - Any Building, structure, facility of installation from which there is or may be a Discharge of Pollutants, the construction of which commenced after the publication of proposed Pretreatment Standards under section 307 © of the Act which will be applicable to such source if such standards are thereafter promulgated in accordance with that section, (40 CFR 403.3 (k) ),  provided that:

- The building, structure, facility or installation is constructed at a site at which no other source is located; or

- The building , structure, facility or installation totally replaces the process or production equipment that causes the discharge of pollutants at an existing source; or

- The production or wastewater generating processes of the building, structure, facility or installation are substantially independent of an existing source at the same site.  In determining whether these are substantially independent, factors such as the extent to which the new facility is integrated with the new facility is engaged in the same general type of activity as the existing source should be considered.

  - Construction on a site at which an existing source is located results

in modification rather than a new source if the construction does not                        create a new building, structure, facility or installation meeting the criteria

of paragraphs a), 2 or 3 of this section but otherwise alters, replaces, or

adds to existing process or production equipment.

  - Construction of a new source as defined under this paragraph has

commenced if the owner or operator has:

    - Begun, or caused to begin as part of a continuous onsite construction program:

- Any placement , assembly, or installation of facilities or equipment; or

b. Significant site preparation work including clearing, excavation, or removal; of existing buildings, structures, or facilities which is necessary for the placement, assembly, or installation of the new source facilities or equipment; or

    - Entered into a binding contractual obligation for the purchase of                                   facilities or equipment, which are intended to be used in its operation within a reasonable time. Options to purchase or contracts which can be terminated or modified without substantial, and design studies do not constitute a contractual obligation under this paragraph.

26) National Pollution Discharge Elimination System )NYDES) Permit or Permits

A permit issued to a POTW pursuant to Section 402 of the Act.  [40 CFR 403.3 (1)]

27)	 Noncontact Cooling Water   Water used for cooling, which does not come into direct contact with any raw material, intermediate product, waste product, or finished product.

28)  Pass Through   A discharge which exits the POTW into waters of the U.S. in quantities or concentrations which, alone or in conjunction with a discharge  or discharges from other sources, is a cause of a violation of any requirement of Conway’s NPDES Permit, including an increase in the magnitude or duration of a violation.  [40 CFR 403.3 (n)]

- Person  Any individual, partnership, co-partnership, firm, company, corporation, association, joint stock company, trust, estate, governmental entity, or any other legal entity, or the legal representative, agents or assigns.  The masculine gender shall include the feminine, the singular shall include the plural where indicated by the context.

- PH  A measure of acidity or alkalinity of a substance expressed in standard

units.

31)  Pollution  The man-made or man induced alteration of the chemical, physical,

biological, or radiological integrity of water.

32) Pollutant  Any dredged spoil, solid waste, incinerator residue, filter backwash,

sewage sludge, munitions, medical wastes, chemical wastes, biological materials, radioactive materials, heat, wrecked or discharged equipment, rock, sand, cellar dirt, industrial, municipal, and agricultural waste, and certain characteristics of wastewater (e.g., ph, temperature, TSS, turbidity, color, BOD, COD, toxicity, metals or odors).

33) Pretreatment (40 CFR 403.3 (q)]  The reduction of the amount of pollutants, the

elimination of pollutants, or the alteration of the nature of pollutant properties in wastewater to a less harmful state prior to or in lieu of discharging or otherwise introducing such pollutants into the POTW.  The reduction or alteration can be obtained by physical, chemical or biological processes, by process changes or by other means, except dilution as prohibited by 40 CFR 403.6 (d).

- Pretreatment (40 CFR 403.3 (g)  Any substantive or procedural requirement related to pretreatment, other than a National Pretreatment Standard imposed on an Industrial user.

- Pretreatment Requirements (40 CFR 403.3 ®)  Pretreatment Standards shall mean  prohibited discharge standards, categorical Pretreatment  and  Standards, and Local limits.

- Publicly Owned Treatment Works (POTW)  A treatment works as defined by section 212 of the Act, which is owned by the City of Conway.  This definition includes any devices and systems used in the storage, treatment, recycling and reclamation of municipal sewage or industrial wastes of a liquid nature.  It also includes sewers, pipes and other conveyances only if they convey wastewater to the POTW Treatment Plant.

- POTW Treatment Plant  That portion of the POTW designed to provide treatment (including recycling and reclamation) of municipal and industrial wastewaters.

- Resource Conservation and Recovery Act (RCRA)  The Solid Waste Disposal Act as amended.

- Septic Tank Waste  Any sewage from holding tanks such as vessels. chemical toilets, campers, trailers and septic tanks.

- Sewage Human excrement and gray water (household showers, dishwashing operations, etc.).

- Shall is mandatory; May is permissive.

- Significant Industrial User [40 CFR 403.3 (t)].

  - A user subject to categorical pretreatment standards (40 CFR 403.6 and 40 CFR 403.6 and 40 CFR Chapter I, subchapter N0; or

  - A user that:

    - Discharges an average of 25,000 gpd or more or process wastewater to   the POTW, excluding sanitary, noncontact cooling, and boiler blowdown wastewater);

    - Contributes a process waste stream which makes up 5% or more of the average dry weather hydraulic or organic capacity or the City’s wastewater treatment plant; or

    - Is designated as such by the Control Authority  [as defined in 40 CFR 403.12 (a) ] on the basis that it has a reasonable potential for adversely affecting the City’s wastewater system operation of for violating any pretreatment standard or requirement 9in accordance with 40 CFR 403.8 (f) (6) ].

  - Upon finding that a user meeting the criteria in b0 1. above has no reasonable potential for adversely affecting the City’s wastewater system operation or for violating any pretreatment standard or requirement, the Control Authority, as defined in 40 CFR 403.12 (a), may at any time, on its own initiative or in response to a petition received from an industrial user or POTW, and in accordance with 40 CFR 403.8 (F) (6), determine that such industrial user should not be considered a significant industrial user.

    - Upon a finding that a User meeting the criteria in Subsection of this part has no reasonable potential for adversely affecting the POTW’s operation or for violating any Pretreatment Standard or Requirement, (the City) may at any time, on its own intitiative or in response to a petition received from an Industrial User, and in accordance with procedures in 40 CFR 403.8 (f) (6), determine that such User should not be considered a Significant Industrial User.

- Slug Load.  Any discharge at a flow rate or concentration which could cause a violation of the Prohibited Discharge Standards in Section 2.1 of this ordinance or any discharge of a non-routine, episodic nature, including but not limited to, an accidental spill or non-customary batch discharge.

- State.  The State of Arkansas.

- Standard Industrial Classification (SIC).  A classification pursuant to the Standard Industrial Classification Manual issued by the United States Office of Management and Budget.

- Storm Water.  Any flow occurring during or following any form of natural precipitation and resulting therefrom.

- Superintendent.  An employee of the Conway Corporation that supervises the operation of the POTW and who is charged with certain duties and responsibilities by this ordinance, or his dully authorized representative.

- Suspended Solids.  The total suspended matter that floats on the surface of, or is suspended in, water, wastewater or other liquids, which is removable by laboratory filtering.

- Toxic Pollutant.  Any pollutant or combination of  pollutants listed as toxic in regulations promulgated by the Administrator of the Environmental Protection Agency under the provision of CWA 307 (a) or other acts.

- User.  Any person who contributes, causes or permits a contribution of wastewater into the City’s POTW.

- Wastewater.  The liquid and water-carried industrial and sewage from residential dwellings, commercial buildings, industrial facilities, and institutions, whether treated or untreated, which are contributed to the POTW.

- Waters of the State.  All streams, lakes, ponds, marshes, watercourses, waterways, wells, springs, reservoirs, aquifers, irrigation systems, drainage systems and all other bodies or accumulations of water, surface or underground, natural or artificial, public or private, which are contained within, flow through, or border upon the state or any portion thereof.

- Wastewater Discharge Permit.  A permit to discharge certain waste that is issued to Industrial users as set forth in Section 4.2 of this ordinance.

  - Abbreviations.

The following abbreviations have the designated meanings:

      - BOD – Biochemical Oxygen Demand

      - CFR – Code of Federal Regulations

      - COD – Chemical Oxygen Demand

      - EPA – U.S. Environmental Protection Agency

      - gpd – Gallons Per Day

      - l – Liter

      - mg – Milligrams

      - mg/l – Milligrams Per Loter

      - NPDES – National Pollutant Discharge Elimination System

      - O7M – Operation & Maintenance

      - POTW – Publicly Owned Treatment Works

      - ppm – Parts Per Million

      - RCRA – Resource Conservation and Recovery Act

      - SIC – Standard Industrial Classifications

      - SWDA – Solid Wastes Disposal Act (42 U.S.C. 6901, et seq.)

      - TSS – Total Suspended Solids

      - USC – United States Code

Section 2 – General Wastewater Use Regulations

  - Prohibited Discharge Standards

General Prohibitions

No user shall introduce or cause to be introduced, directly or indirectly, any pollutant or wastewater which will interfere with the operation or performance of the POTW or that will cause pass through.  These General Prohibitions apply to all such users of a POTW whether or not the user is subject to National Categorical Pretreatment Standards or any other national, state or local pretreatment standards or requirements. [40 CFR 403.5(a)]

B)  Specific Prohibitions

No user shall introduce or cause to be introduced into the POTW the following pollutants, substances, or wastewater (40CFR403.5(b)):

- 1)  Pollutants which create a fire or explosion hazard in the POTW, including, but not limited to, waste streams with a closed cup flashpoint of less than 140 degrees Fahrenheit or 60 degrees Centigrade using the test methods specified in 40 CFR261.21.  Prohibited materials include, but are not limited to:  gasoline, kerosene, naphtha, benzene, toluene, xylene, ethers, alcohols, ketones, aldehydes, peroxides, chlorates, perchlorates, bromates, carbides, hydrides and sulfides and any other substances which the City, the State or EPA has notified the User is a fire hazard or a hazard to the system.

- Solid or viscous pollutants in amounts which will cause obstruction to the flow in the POTW resulting in interference with the operation of the wastewater treatment facilities, such as, but not limited to:  grease, garbage with particles greater than one-half inch (l/2") in any dimension, animal guts or tissues, paunch manure, bones, hair, hides or fleshings, entrails, whole blood, feathers, ashes, cinders, sand, spent lime, stone or marble dust, metal, glass, straw, shavings, grass clippings, rags, spent grains, spent hops, waste paper, wood, plastics, gas, tar, asphalt residues, residues from refining, or processing of fuel or lubricating oil, mud, or glass grinding or polishing wastes.

- Any wastewater having a pH less than 5.0 or greater than 12.0, or wastewater having any other corrosive or acidic property capable of causing damage or hazard to structures, equipment, or personnel of the POTW.

- Any wastewater containing toxic pollutants in sufficient quantity, either singly or by interaction with other pollutants, to injure or interfere with any wastewater treatment process, constitute a hazard to humans or animals, create a toxic effect in the receiving waters of the POTW, or to exceed the limitation set forth in a Categorical Pretreatment Standard.  A toxic pollutant shall include but not be limited to any pollutant identified pursuant to Section 307 (a) of the Act.

- Any noxious or malodorous liquids, gases, or solids which either singly or by interaction with other wastes are sufficient to create a public nuisance or hazard to life or are sufficient to prevent entry into the sewers for maintenance and repair.

- Any substance which may cause the POTW's effluent or any other product of the POTW such as residues, sludges, or scums, to be unsuitable for reclamation and reuse or to interfere with the reclamation process.  In no case, shall a substance discharged to the POTW cause the POTW to be in non-compliance with sludge use or disposal criteria, guidelines or regulations developed under Section 405 of the Act; any criteria, guidelines, or regulations affecting sludge use or disposal developed pursuant to the Solid Wastes Disposal Act, the Clean Air Act, the Toxic Substances Control Act, or State criteria applicable to the sludge management method being used.

- Any substance which will cause the POTW to violate its NPDES and/or State Disposal System Permit or the receiving stream’s water quality standards.

- Any wastewater with objectionable color not removed in the treatment process, such as, but not limited to, dye wastes and vegetable tanning solutions.

- Any wastewater having a temperature which will inhibit biological activity in the POTW treatment plant resulting in Interference, but in no case wastewater with temperature at the introduction into the POTW which exceeds 65 degrees C.(150 degrees F.).

- Any pollutants, including oxygen demanding pollutants (BOD, etc.), released in a discharge at a flow rate and/or pollutant concentration which will cause Interference with the POTW.

In no case shall a slug load have a flow rate or contain concentration or qualities of pollutants that exceed for any time period longer than fifteen (15) minutes more than five (5) times the average twenty-four (24) hour concentration, quantities, or flow during normal operation.

- Any wastewater containing any radioactive wastes or isotopes of such half-life or concentration as may exceed limits established by the Control Authority in compliance with applicable State or Federal regulations.

- Pollutants which result in the presence of toxic gases, vapors, or fumes within the POTW in quantity that may cause acute health and/or safety problems to POTW employees or others.

- Petroleum oil, nonbiodegradable cutting oil, or products of mineral oil origin in amounts that will cause interference or pass through.

- Trucked or hauled pollutants, except at discharge points designated by the superintendent in accordance with Section 4.6.4. of this ordinance.

  - When the CEO determines that a User is contributing to the POTW any of the above enumerated substances in such amounts as to interfere with the operation of the POTW, the CEO shall:

Advice the User of the impact of the contribution on the POTW; or develop effluent limitations for the User that corrects the interference with the POTW.

2.2 Federal Categorical Pretreatment Standards

Upon the promulgation of the Federal Categorical Pretreatment Standards for a particular industrial subcategory, the Federal Standard, if more stringent than limitations imposed under this ordinance for sources in that subcategory, shall immediately supersede the limitations imposed under this ordinance.  The CEO shall notify all affected Users of the applicable reporting requirements under 40 CFR 403.12 [40 CFR 403.8 (f) (1) (ii)]

2.3 State Requirements

State requirements and limitations on discharges shall apply in any case where they are more stringent than Federal requirements and limitations or those contained in this ordinance.

2.4 City's Right of Revision

The City reserves the right to establish by ordinance more stringent limitations and/or requirements on discharges to the wastewater disposal system if deemed necessary to comply with the objectives presented in Section 1.1 of this ordinance.

  - Specific Pollutant Limitations

No person or firm shall discharge wastewater containing in excess of the following:

| POLLUTANT CONCENTRATION LIMITS |  |  |  |  |
| --- | --- | --- | --- | --- |
| POLLUTANT | STONE DAM CREEK PLANT |  | TUCKER CREEK PLANT |  |
|  | AMC (mg/l) | MDC (mg/l) | AMC (mg/l) | MDC mg/l) |
| Arsenic | 0.500 | 1.000 | 0.500 | 1.000 |
| Cadmium | 0.015 | 0.110 | 0.025 | 0.200 |
| Chromium | 1.000 | 2.770 | 1.500 | 3.000 |
| Copper | 2.070 | 3.380 | 2.000 | 4.000 |
| Cyanide | 0.350 | 1.200 | 0.500 | 1.000 |
| Lead | 0.430 | 0.690 | 0.500 | 1.000 |
| Mercury | 0.010 | 0.030 | 0.020 | 0.050 |
| Nickel | 1.500 | 3.980 | 2.000 | 4.000 |
| Silver | 0.240 | 0.430 | 0.450 | 0.800 |
| Zinc | 1.480 | 2.610 | 2.000 | 4.000 |
| Oil/Grease | 100.00 | 100 | 100.00 | 100 |
| TTO | 2.130 | N/A | 2.130 | N/A |

AML – Average Monthly loading; MDL – Maximum Daily Loading;

Concentrations apply to any industrial or commercial waste that is discharge to the POTW.  All concentrations for metallic substances are four “total” metal unless indicated otherwise.  [40 CFR 403.5 (c) & (d) and 40 CFR 403.8 (f) (4)]

  - Excessive Discharge/Dilution

No user shall ever increase the use of process water or complete substitute for adequate treatment to achieve acompliance with the limitations contained in the Federal Categorical Pretreatment Standards, or in any other Pretreatment Standard or Requirement.    The Control Authority may impose mass limitations on Industrial Users that are using dilution to meet applicable Pretreatment Standards or Requirements, or in other cases where the imposition of mass limitations is appropriate.  [10 CFR 403.6 (d)]

Section 3 – Fees

3.1 Purpose

It is the purpose of this chapter to provide for the recovery of costs from users of the City's wastewater disposal system for the implementation of the pretreatment program established herein. The applicable charges or fees shall be established by Conway Corporation.

3.2 Charges and Fees

The Conway Corporation may adopt charges and fees which may include:

(a)  Fees for reimbursement of costs of setting up and operating

the City's Pretreatment Program;

(b)  Fees for monitoring, inspections and surveillance procedures, including additional fees for unscheduled sampling and inspections;

(c)  Fees for reviewing accidental discharge procedures and

construction;

(d)  Fees for the cost of Conway Corporation’s personal and

equipment to perform all needed monitoring.

(e)  Fees for Permit Application;

(f)  Fees for filing appeals;

(g)  Fees for consistent removal (by the POTW) of pollutants otherwise subject to Federal Pretreatment Standards;

(h)  Fees for the reimbursement of costs associated with the maintenance of the Sewer Collection System, due to the lack of pretreatment, failure to maintain treatment of processes, or a discharge that cause blockages or maintenance issues with the Sewer Collection System.

(i)  Other fees as the Conway Corporation may deem necessary to carry out the requirements contained herein.

These fees relate solely to the matters covered by this ordinance and are separate from all other fees chargeable by the City and the Conway Corporation.

Section 4 – Administration

  - Wastewater Dischargers

It shall be unlawful to discharge without a city permit  to any natural outlet within the City of Conway, or in any area under the jurisdiction of said City of Conway, and/or to the POTW any wastewater except as authorized by the CEO in accordance with the provisions of this ordinance.

Industrial users, small commercial to large industrial facilities, are encouraged to develop Pollution Prevention (P2) programs to decrease the amount of pollutants from their facilities entering the City’s Wastewater System.  EPA and ADEQ are encouraging P2 program development and information on setting up a program can be obtained by contacting one or both agencies.

4.2 Wastewater Discharge Permits

4.2.1 General Permits

All significant industrial users proposing to connect to or contribute to the City of Conway's POTW shall obtain a Wastewater Discharge Permit prior to connecting to or contributing to the City's Wastewater System.  It shall be unlawful for any significant industrial user to discharge wastewater into the City of Conway's POTW without first obtaining a Wastewater Discharge Permit from the CEO.  Obtaining a Wastewater Discharge Permit does not relieve a Permitee of its obligation to comply with all Federal, State, or Local Pretreatment Standards or Requirements or any other requirements of Federal, State and Local Law.[40CFR 403.8(f)(iii)]

4.2.2 Industrial Wastewater Questionnaire

(1) Prior to obtaining a wastewater discharge permit or whenever     requested by the CEO an industrial user must submit an Industrial Wastewater Questionnaire. The Industrial Wastewater Questionnaire Form will be prepared by the CEO and will contain questions concerning the industry’s operation, quality and quantity of wastewater effluent, layout of building sewer lines, location of sewer service line out to the sewer main, any pretreatment processes, etc.  The CEO may require industrial users to update the questionnaire periodically.  Failure to complete and return this questionnaire to the within a reasonable length of time shall be considered a violation of this ordinance and shall be reasonable grounds for terminating service to the industrial user.

(2)  All Industrial Wastewater Questionnaires and industrial user Reports must contain the following certification statement and be signed by an authorized representative of the industrial user: "I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is to the best of my knowledge and belief, true, accurate and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations." [40CFR 403.12(b) (6)]

4.2.3 Permit Application

Users required to obtain a Wastewater Discharge Permit shall     complete and file with the Conway Corporation, an application in the form prescribed by the Conway Corporation and accompanied by a fee, if required by the Conway Corporation.  Existing significant industrial users, without a Wastewater Discharge Permit, shall apply for a Wastewater Discharge Permit within 60 days after the effective date of this ordinance, and proposed new users shall apply at least 30 days prior to being connected to or contributing to the POTW.  In support of the application, the user shall submit a completed industrial wastewater questionnaire and any other information as required by the CEO. The Industrial Wastewater Questionnaire shall contain a certification statement, signed by an authorized representative of the Industrial User, indicating whether Pretreatment Standards are being met on a consistent basis, and, if not, whether additional operation and maintenance and/or additional pretreatment is required for the Industrial User to meet the Pretreatment Standards and Requirements. The CEO will evaluate the data furnished by the user and may require additional information.  After evaluation and acceptance of the data furnished, the CEO may issue a Wastewater Discharge       Permit subject to terms and conditions provided herein.  The CEO may deny any application for a Wastewater Discharge Permit.

4.2.4 Permit Appeals

Any person, including the User, may petition the CEO to reconsider the terms of a Wastewater Discharge Permit within thirty (30) days of its issuance.

  - Failure to submit a timely petition for review shall be deemed to be a waiver of the administrative appeal.

  - In its petition, the appealing party must indicate the Wastewater Discharge Permit provisions objected to, the reasons for this objection, and the alternative condition, if any, it seeks to place in the Wastewater Discharge Permit.

  - The effectiveness of the Wastewater Discharge Permit shall not be stayed pending the appeal.

D.  If the CEO fails to act within thirty (30) days, a request for              reconsideration shall be deemed to be denied.  Decisions not to reconsider a Wastewater Discharge Permit, not to issue a Wastewater Discharge Permit, or not to modify a Wastewater Discharge Permit shall be considered final administrative action for purposes of judicial review.

E.  Aggrieved parties seeking judicial review of the final   administration Wastewater Discharge Permit decision must so by filing a complaint with the appropriate court in Faulkner Country, Arkansas.

4.2.5 Permit Modifications

The PC may modify the Wastewater Discharge Permit for good cause including, but not limited to, the following:

A.	To include any new or revised Federal, State or Local Pretreatment Standards or Requirements.

B.	To include any changes to the POTW’s NPDES permit that might affect the industry’s effluent limits.

C.	To address significant changes or additions to the industrial users operations, processes or wastewater volume or character since the date that the Wastewater Discharge Permit was issued.

D.	Misrepresentations or failure to fully disclose all relevant facts in the Wastewater Discharge Permit Application, Industrial Wastewater Questionnaire or other required reports.

E.	To correct errors in the Wastewater Discharge Permit.

F. To reflect a transfer of the facility ownership and/or operation  to a new owner/operator.

The filing of a request by the Permitee for a Wastewater                                                    Discharge Permit modification does not stay any Wastewater Discharge Permit conditions.

4.2.6 Permit Conditions

Wastewater Discharge Permits shall be expressly subject to all provisions of this ordinance and all other applicable regulations, user charges and fees established by the Conway Corporation [40CFR 403.8(f)(1)(iii)].

A.   Individual wastewater discharge permits may contain:

- Effluent limits based on application general pretreatment standards in 40CFR Part 403, categorical pretreatment standards, local limits, and State and Local law;

- Limits on average and maximum rate and time of      discharge or requirements for flow regulations and     equalization;

- Requirements for installation and maintenance of      inspection and sampling facilities;

- Specifications for monitoring programs, which shall include sampling locations, frequency of sampling, number, types for tests, effluent pollutant limits and reporting schedule;

- Compliance schedules;

- Requirements for submission of technical reports or

discharge reports;

- Requirements for maintaining and retaining plant

records relating to wastewater discharge as specified by

the Conway Corporation, and affording the Conway                             			   Corporation access thereto;

- Requirements for notification of the Conway Corporation

of any new introduction of wastewater constituents or

any substantial change in the volume or character of the

wastewater constituents being introduced into the POTW;

- Requirements for notification of slug discharges;

- Statement of duration of Permit;

- Statement of non-transferability without, at a minimum, prior notification to the POTW;

- Statement of applicable civil and criminal penalties for violation of pretreatment standards and requirements, and any applicable compliance schedule;

- Other conditions as required by the Conway

Corporation to insure compliance with this ordinance.

B. Individual wastewater discharge permits must contain:

(1) Effluent limits, including Best Management Practices, based on applicable Pretreatment Standards; [Note: Required Streamlining Rule Change]

(2)	Requirements to control Slug Discharge, if determined by the [Superintendent] to be necessary.[Note: Required Streamlining Rule Change]

4.2.7 Permits Duration

Permits shall be issued for a specified time period, not to exceed five (5) years.  A permit may be issued for a period less than a year or may be stated to expire on a specific date.  The User shall apply for permit re-issuance a minimum of sixty (60) days prior to the expiration of the user's existing permit.  The terms and conditions of the permit may be subject to modification by the Conway Corporation during the term of the permit as limitations or requirements identified in Section 2 above are modified or other just cause exists.  The User shall be informed of any proposed changes in his permit at least 30 days prior to the effective date of change.  Any changes or new conditions in the permit shall include a reasonable time schedule for compliance.

    - Permit Transfer

Wastewater Discharge Permits are issued to a specific User

for a specific operation.  Wastewater Discharge Permits may be

transferred to a new owner or operator only if the permitee

receives approval from the CEO.  The permitee shall submit an

application for a permit transfer and the application shall:

    - State that the new owner and/or operator has no

immediate intent to change the facility's operations and processes;

    - Identifies the specific date on which the transfer is

to occur; and

    - Acknowledges full responsibility for complying with

the existing Wastewater Discharge Permit.

Failure to provide advance notice of a transfer is a

violation of this ordinance and the user's discharge permit.

4.3  Reporting Requirements for Permitee

4.3.1  Compliance Date Report

Within 90 days following the date for final compliance with the applicable Pretreatment Standards, or in the case of a new source, following the commencement of the introduction of wastewater into the POTW, any User subject to Pretreatment Standards and Requirements shall submit to the PC a report indicating the nature and concentration of all pollutants in the discharge from the regulated process that are limited by Pretreatment Standards and Requirements and the average and maximum daily flow for the process units in User’s facilities that are limited by such Pretreatment Standards or Requirements.  The report shall state whether the applicable Pretreatment Standards or Requirements are being met on a consistent basis and, if not, what additional treatment is necessary to bring the User into compliance with the applicable Pretreatment Standards or Requirements. This statement shall be signed by an authorized representative of the User, and certified to by a qualified professional. [40CFR 403.12(d)]

    - Periodic Compliance Reports

[Note: All SIUs are required to submit periodic compliance reports even if they have been designated a Non-Significant Categorical Industrial User under the provisions of Section 6.4 C.]

A. Except as specified in Section 6.4.C, all [Significant Industrial] Users must, at a frequency determined by [the Superintendent] submit no less than twice per year (June and December [or on dates specified]) reports indicating the nature, concentration of pollutants in the discharge which are limited by Pretreatment Standards and the measured or estimated average and maximum daily flows for the reporting period.  In cases where the Pretreatment Standard requires compliance with a Best Management Practice (BMP) or pollution prevention alternative, the User must submit documentation required by [the Superintendent] or the Pretreatment Standard necessary to determine the compliance status of the User [Note: Required Streamlining Rule Change].

B. The CEO may impose mass limitations on Users which are using dilution to meet applicable Pretreatment Standards or Requirements, or in other cases where the imposition of mass limitations are appropriate.  In such cases, the report required by Paragraph A. of this section shall indicate the mass of pollutants, regulated by Pretreatment Standards, in the effluent of the User.  These reports shall contain the results of sampling and analysis of the discharge, including the flow and the nature and concentration, or production and mass where required by the applicable Pretreatment Standards.  Frequency of monitoring shall be as least as often as prescribed in the applicable Pretreatment Standard.  All analysis shall be performed in accordance with procedures established by the approval authority, pursuant to Sec. 304 (g) of the Act and contained in 40 CFR, Part 136 and amendments thereto, or with any other test procedures approved by the CEO.  Sampling shall be performed in accordance with the techniques approved by the CEO.

E.  All wastewater samples must be representative of the User’s discharge.             Wastewater monitoring and flow measurement facilities shall be properly operated, kept clean, and maintained in good working order at all times.  The failure of a User to keep its monitoring facility in good working order shall not be grounds for the User to claim that sample results are unrepresentative of its discharge.  [Note: This paragraph supports the Required Streamlining Rule Changes.]

4.3.3  Baseline Monitoring Reports

A.	Within either 180 days after the effective date of a categorical pretreatment standard, or the final administrative decision on a category determination under 40 CFR 403.6(a)(4), whichever is later, existing significant industrial users subject to such categorical pretreatment standards and currently discharging to or scheduled to discharge to the City of Conway’s Wastewater System, shall be required to submit to the CEO a report which contains the information listed in paragraph B., below.  At least 90 days prior to commencement of their discharge, new sources, and sources that become industrial users subsequent to the promulgation of an applicable categorical standard, shall be required to submit to the CEO a report which contains information listed in paragraph B, below.  A new source shall also be required to report the method of pretreatment it intends to use to meet applicable Pretreatment Standards.  A new source shall also give estimates of its anticipated flow and quantity of pollutants to be discharged

B. The industrial user shall submit the information required by this   section including [40 CFR 403.12(b)]:

1. Identifying Information.  The name and address of the facility including the name of the operator and owners.[40CFR403.12(b)(1)]

2. Wastewater Discharge Permits.  A list of any Environmental Control Wastewater                        Discharge Permits held by or for the facility.[40CFR 403.12(b)(2)]

3. Description of Operations.  A brief description of the nature, average rate of production and Standard Industrial Classification (SIC) of the operation carried out by such industrial user.  This description should include a schematic process diagram, which indicates area where wastewater is generated and points of discharge to the City of Conway’s Wastewater System from the regulated processes.[40CFR 403.12(b)(3)]

4. Flow Measurement.  Information showing the measured average daily and maximum daily flow, in gallons per day, to the City of Conway’s Wastewater System from regulated process streams and other streams, as necessary, to allow use of the combined waste stream formula set out in 40 CFR 403.6(e). [40CFR403.12(b)(4)] If a user must use mass loading limits, then a Conway Corporation approved flow measurement device must be installed and maintained at the users expense.

5.  Identification and Measurement of Pollutants.

a) Identify the Categorical Pretreatment Standard applicable to each regulated process.

b) Perform sampling in accordance with procedures set out in Section 4.5.3 below.

c) Submit the results of said sampling and analysis, identifying the nature and concentration of regulated pollutants in the effluent from each regulated process, to the Conway Corporation.  Instantaneous, daily, maximum and long term average concentrations shall be reported.  The sample shall be representative of daily operations and shall be analyzed in accordance with procedures set out in Section 4.5.2 below.

6. Certification.  A statement reviewed by the industrial user’s authorized representative and certified by a qualified professional, indicating whether pretreatment standards are being met on a consistent basis and if not, whether additional operation and maintenance and/or additional pretreatment is required to meet the pretreatment  standards and requirements. [40 CFR 403.12(b)(6)]

7. Compliance Schedule.  If additional pretreatment and/or operation and maintenance will be required to meet the Pretreatment Standards, the industrial user shall provide a schedule by which such additional pretreatment and/or operation and maintenance will be completed in the shortest time period. All Compliance schedules must be approved by Conway Corporation to ensure all necessary measures are being taken in a timely fashion. If schedule is not appropriate, Conway Corporation can designate compliance schedule.    [40 CFR 403.12(b)(7)]

8. Environmental Permits A list of any Environmental Control Permits held by or for the facility.

4.3.4 Report of Changed Conditions

All Industrial Users shall promptly notify the CEO in advance of any substantial change in the volume or character of pollutants in their discharge, including the listed or characteristic hazardous wastes for which the Industrial User has submitted initial notification under 40 CFR 403.12(p). [40 CFR 403.12(j)]

Significant Industrial Users are required to notify the CEO immediately of any changes at its facility affecting the potential for a Slug Discharge.

[Note: Required Streamlining Rule Change]

Report of Potential Problems, Including Slug Loading

In the case of any discharge to the City’s Wastewater System, including, but not limited to, accidental discharges, discharges of a non-routine, episodic nature, a non-customary batch discharge, or a slug load which may cause problems for the City of Conway’s Wastewater System, including a violation of the prohibited discharge standards in Section 2.1 of this Ordinance, it is the responsibility of the industrial user to immediately notify the CEO/PC of the incident.  This notification shall include the cause of problems/reason for slug load, location of the discharge, the type of waste, the concentration of pollutants, and the volume of discharge, if known, and describe the corrective actions taken by the User.  Within five (5) days following such discharge, the User shall, unless waived by the CEO, submit a detailed written report describing the cause of the discharge and the measures to be taken by the User to prevent similar occurrences in the future.  Such notification shall not relieve the User of any expense, loss, damage, or other liability that may be incurred as a result of damage to the City’s Wastewater System, natural resources, or any other damage to persons or property; nor shall such notification relieve the User of any fines, civil penalties, or other liability that may be imposed by this Ordinance.  [40 CFR 403.12(f)]

A notice shall be permanently posted on the User’s bulletin board or other permanent place advising employees whom to call in the event of a discharge described in the above paragraph.  Employers shall insure that all employees, who may cause or suffer such a discharge to occur, are advised of the emergency notification procedure.

Significant Industrial Users are required to notify the CEO immediately of any changes at its facility affecting the potential for a Slug Discharge.  [Note: Required Streamlining Rule Change]

Notice of Violation

If sampling performed by a User indicates a violation, the User must notify [the Superintendent] within twenty-four (24) hours of becoming aware of the violation.  The User shall also repeat the sampling and analysis and submit the results of the repeat analysis to [the Superintendent] within thirty (30) days after becoming aware of the violation. Resampling by the Industrial User is not required if [the City] performs sampling at the User’s facility at least once a month, or if [the City] performs sampling at the User between the time when the initial sampling was conducted and the time when the User or [the City] receives the results of this sampling, or if [the City] has performed the sampling and analysis in lieu of the Industrial User.

[Note: Required Streamlining Rule Change needed if POTW performs sampling in lieu of the Industrial Users.  If the City performed the sampling and analysis in lieu of the Industrial User, the City will perform the repeat sampling and analysis unless it notifies the User of the violation and requires the User to perform the repeat sampling and analysis.  See 40 CFR 403.12(g) (2).]

4.4 Monitoring Facilities

Industrial users shall be required to provide, operate and maintain at their expense, monitoring facilities to allow inspection, sampling, and flow measurement of the building sewer and/or internal drainage systems.  The monitoring facility should normally be situated on the User’s premises, but the Conway Corporation may, when such a location would be impractical or cause undue hardship on the User, allow the facility to be constructed in the public street or sidewalk area and located so that it would not be obstructed.

The sampling and monitoring facilities shall be provided in accordance with Conway Corporation’s requirements and all applicable local construction standards and specifications.  Construction shall be completed within ninety (90) days following written notification by the Conway Corporation.

- Industrial Effluent Monitoring

    - Inspection and Sampling

The CEO shall have the right to enter the facilities of any User to ascertain whether the purpose of this Ordinance, and any permit or order issued hereunder, is being met and whether the User is complying with all requirements thereof.  Industrial users shall allow the PC ready access to all parts of the premises for the purposes of inspection, sampling, records examination and copying, and the performance of any additional duties. [40 CFR 403.8(f)(1)(v)]

A.	Where a User has security measures in force which require proper identification and clearance before entry into its premises, the User shall make necessary arrangements with its security guards so that upon presentation of suitable identification, personnel from the Conway Corporation, State and EPA will be permitted to enter without delay, for the purposes of performing their specific responsibilities.

B. Conway Corporation, State and EPA shall have the right to set up on the User’s property, or require the installation of, such devices as are necessary to conduct sampling and/or metering of the User’s process water effluent or other wastewater effluent. In the event Conway Corporation requires the installation of any such devices, all costs for the installation and maintenance shall be borne by the industrial user.

C. Any temporary or permanent obstruction to safe and easy access to the User’s facility to be inspected and/or sampled shall be promptly removed by the User at the written or verbal request of the PC and shall not be replaced.  The cost of clearing such access shall be borne by the User.

D. Unreasonable delays in allowing Conway Corporation personnel access to the User’s premises shall be a violation of this Ordinance.

E. The CEO may require the User to install monitoring equipment as necessary.  The User’s sampling and monitoring equipment shall be maintained at all times in a safe and proper operating condition by the User at its expense.  All devices used to measure wastewater flow and quality shall be calibrated annually to insure their accuracy.

- Compliance Monitoring

A.	Right of Entry (Inspection and Sampling)—The CEO shall have the right to enter the premises of any User to determine whether the User is complying with all requirements of this ordinance and any wastewater discharge permit or order issued hereunder.  Users shall allow the CEO ready access to all parts of the premises for the purposes of inspection, sampling, records examination and copying, and the performance of any additional duties.  The requirements of 4.5.1 Inspection and Sampling, A. through E. shall apply.

B.	Search Warrants—If the CEO has been refused access to a building, structure, or property, or any part thereof, and is able to demonstrate probable cause to believe that there may be a violation of this ordinance, or that there is need to inspect and/or sample as part of a routine inspection and sampling program of the City of Conway designed to verify compliance with this ordinance or any permit or order issued hereunder, or to protect the overall public health, safety and welfare of the community, then the CEO may seek issuance of a search warrant from the appropriate Court of Conway, Faulkner County, Arkansas.

- Analytical Requirements

All pollutant analysis, including sampling techniques, to be submitted as part of a wastewater discharge permit application or report shall be performed in accordance with the techniques prescribed in 40 CFR Part 136, unless otherwise specified in an applicable categorical pretreatment standard.  If 40 CFR Part 136 does not contain sampling or analytical techniques for the pollutant in question, sampling and analysis must be performed in accordance with procedures approved by the EPA.  [40 CFR 403.12(g)(4)]

4.5.4 Sample Collection

A Sample collected to satisfy reporting requirements must be based on    data obtained through appropriate sampling and analysis performed during the period covered by the report, based on data that is representative of conditions occurring during the reporting period.  [Note:  The Control Authority is require to indicate the frequency of monitoring necessary to assess and assure compliance by the User with applicable Pretreatment Standards and Requirements.]

[Note:  In the Streamlining Rule changes, Paragraphs A and B below have been deleted from 40 CFR 403.12(b)(5) and added to 40 CFR 403.12(g)(3). The original paragraphs relate to Categorical Industrial User monitoring reports only while the relocated paragraphs apply to all SIU monitoring.]

A.  Except as indicated in Section B and C below, the User must collect wastewater samples using 24-hour flow-proportional composite sampling techniques, unless time-proportional composite sampling or grab sampling is authorized by [the Superintendent].  Where time-proportional composite sampling or grab sampling is authorized by [the City], the samples must be representative of the discharge.  Using protocols (including appropriate preservation) specified in 40 CFR Part 136 and appropriate EPA guidance, multiple grab samples collected during a 24-hour period may be composited prior to the analysis as follows: for cyanide, total phenols, and sulfides the samples may be composited in the laboratory or in the field; for volatile organics and oil and grease, the samples may be composited in the laboratory. Composite samples for other parameters unaffected by the compositing procedures as documented in approved EPA methodologies may be authorized by [the City], as appropriate. In addition, grab samples may be required to show compliance with Instantaneous Limits.  [Note: Required Streamlining Rule Change. See 40 CFR 403.12(g)(3)]

B.  Samples for oil and grease, temperature, pH, cyanide, total phenols, sulfides, and volatile organic compounds must be obtained using grab collection techniques.

C.  For sampling required in support of baseline monitoring and 90-day compliance reports required in Section 6.1 and 6.3 [40 CFR 403.12(b) and (d)], a minimum of four (4) grab samples must be used for pH, cyanide, total phenols, oil and grease, sulfide and volatile organic compounds for facilities for which historical sampling data do not exist; for facilities for which historical sampling data are available, [the Superintendent] may authorize a lower minimum. For the reports required by paragraphs Section 6.4 (40 CFR 403.12(e) and 403.12(h)), the Industrial User is required to collect the number of grab samples necessary to assess and assure compliance by with applicable Pretreatment Standards and Requirements.  [Note: Required Streamlining Rule Change, see 40 CFR 403.12(g)(4).]

- 4.5.5   Record Keeping

Users subject to the reporting requirements of this ordinance shall retain, and make available for inspection and copying, all records of information obtained pursuant to any monitoring activities required by this ordinance, any additional records of information obtained pursuant to monitoring activities undertaken by the User independent of such requirements, and documentation associated with Best Management Practices established under Section 2.4 C.  Records shall include the date, exact place, method, and time of sampling, and the name of the person(s) taking the samples; the dates analyses were performed; who performed the analyses; the analytical techniques or methods used; and the results of such analyses.  These records shall remain available for a period of at least three (3) years.  This period shall be automatically extended for the duration of any litigation concerning the User or [the City], or where the User has been specifically notified of a longer retention period by [the Superintendent].  [Note: The recordkeeping requirements for BMPs are a Required Streamlining Rule Change.]

    - Fraud and False Statements

- The reports and other documents required to be submitted or  maintained under this section shall be subject to the following [40 CFR 403.12(n)]:

- A. The provisions of 18 U.S.C. section 1001 relating to fraud and false statements;

- B. The provisions of sections 309(c)(4) of the Act, as amended, governing false statements, representation or certification; and

- C.	The provisions of section 309(c)(6) regarding responsible corporate officers.

- Pretreatment of Wastewater

- 4.6.1 Pretreatment Facilities

- Users shall provide necessary wastewater treatment as required to    comply with this Ordinance and shall achieve compliance with all Federal Categorical Pretreatment Standards within the time limits as specified by the Federal Pretreatment Regulations, local limits, and established prohibitions.  Any facilities required to pretreat wastewater to comply with this Ordinance, EPA Regulations, or State Regulations, as directed by the CEO, shall be provided, operated, and maintained by the User at its expense.  Detailed plans showing the pretreatment facilities and operating procedures shall be submitted to the PC for review, and shall be acceptable to the PC before construction of the facility.  The review of such plans and operating procedures will in no way relieve the User from the responsibility of modifying the facility as necessary to produce an effluent acceptable to the CEO under the provisions of this Ordinance, and in compliance with any federal, state and/or local limits.  Any subsequent changes in the pretreatment facilities or method of the operation shall be reported to and be acceptable to the PC prior to the User’s initiation of said changes.

- All records relating to compliance with Pretreatment Standards shall be available to officials of the EPA, Approval Authority, or Conway Corporation.

- 4.6.2   Additional Pretreatment Measures

- A.	Whenever deemed necessary, the CEO may require Users to restrict their discharge during peak flow periods, designate that certain wastewater be discharged only into specific wastewater lines, relocate and/or consolidate points of discharge, separate domestic wastewater from industrial process wastewater and such other conditions as may be necessary to protect the POTW and determine the Users compliance with the requirements of this Ordinance.

    - The CEO may require any person discharging into the POTW to install, operate, and maintain, on their property and at their expense, a suitable storage and flow-control facility to insure equalization of flow.

Grease, oil and sand interceptors shall be provided when it is determined by the CEO that they are necessary for the proper handling of wastewater containing excessive amounts of grease, oil or sand; except that such interceptors shall not be required for residential users.  All interception units shall be of the type and capacity approved by the Superintendent and shall be so located to be easily accessible for cleaning and inspection.  Such interceptors shall be inspected, cleaned, and repaired regularly, as needed, by the User at their expense. The interceptors must be maintained at a level as to provide effluent quality that has oil and grease concentration below 100 mg/L, and a Biochemical Oxygen Demand and Total Suspended Solid concentration below 250 mg/L, unless other wise allowed by Conway Corporation.

    - Users with the potential to discharge flammable substances may be required to install and maintain an approved combustible gas detection meter.

    - Accidental Discharge/Slug Loading Control

        - As determined necessary, the CEO shall evaluate whether each significant industrial user needs an Accidental Discharge/Slug Loading Control Plan.  The Superintendent may require any industrial user to develop, submit for approval, and implement such a plan.  Also, the CEO may develop such a plan for any industrial user. An Accidental Discharge/Slug Loading Control Plan shall include the following [40 CFR 403.8(f)(2)(v)]:

- Description of discharge practices, including non-routine batch discharges;

- Description of stored chemicals, including MSDS forms on each chemical;

- Procedures for immediately notifying the CEO of any accidental or slug discharge, including any discharge that would violate a prohibition under 40 CFR 403.5(b), with procedures for follow-up written notification within five (5) days (as required by Section 4.3 of this Ordinance);

- If necessary, procedures to prevent adverse impact from any accidental or slug discharge.  Such procedures include, but are not limited to, inspection and maintenance of chemical storage areas, handling and transfer of chemical or other potentially harmful materials, loading and unloading operations, control of plant site runoff, worker training, building of containment structures or equipment, measures for containing toxic organic pollutants  (including solvents), and/or measures and equipment for emergency response.

Each user must provide protection from an accidental discharge of all prohibited materials or other substances prohibited by this Ordinance.  Facilities and equipment required to prevent, contain, or neutralize any accidental discharge of prohibited materials shall be provided and maintained by the User at their expense.

- Hauled Wastewater

- A.	Septic tank wastes may be discharged into the POTW only at locations designated by the CEO and at such times that are established by the CEO.  Such wastes shall not violate Section 2 of this Ordinance or any additional requirements established by the CEO.  The septic tank waste haulers shall obtain Wastewater Discharge Permits from the CEO prior to being allowed to discharge wastes into the POTW.  The Superintendent may have samples collected of each hauled load of wastes to insure compliance with applicable standards.  The Superintendent may require the waste hauler to provide an analysis of the wastes prior to discharge.  A fee, as determined by the CEO, shall be charged for each truck load of hauled waste discharged into the POTW. The Superintendent can at any time deny the ability for wastes to be discharged into the POTW for any reason.

        - Waste haulers shall provide the Superintendent with a completed chain-of-custody and/or waste manifest form for each waste load prior to being allowed to discharge said waste to the POTW.  The follow minimum information shall be included on the form:

- Name, address and phone number of Waste Hauler;

- Waste Hauler Permit Number;

- Arkansas Department of Environmental Quality Waste Hauler Permit Number;

- Names and addresses of the sources of the wastes;

- Truck identification number;

- Volume and characteristics of the wastes;

- Type of facility that generated the wastes; and

- A statement that waste is not RCRA hazardous waste.

- Confidential Information

- Information and data on a User, contained in reports, questionnaires, permit applications, permits, monitoring programs and inspections of User’s facilities shall be available to the public or other governmental agency without restriction unless the User specifically requests and is able to demonstrate to the satisfaction of the CEO that the release of such information would divulge information, processes or methods of production entitled to protection as trade secrets of the User.  Wastewater constituents and characteristics and other “effluent data” as defined by 40 CFR 2.302 will not be recognized as confidential information and will be available to the public without restriction.  Any information that the User wishes to be considered confidential shall be clearly marked “Confidential” prior to submitting it to the Control Authority. When requested by the person or firm furnishing a report, the portions of the report which might disclose trade secrets or secret processes shall not be made available for inspection by the public but shall be made available upon written request to governmental agencies for uses related to this Ordinance, the National Pollutant Discharge Elimination System (NPDES) Permit, State Disposal System Permit and/or the Pretreatment Program; provided, however, that such portions of the report shall be available for use by the State or any State Agency in judicial review or enforcement proceedings involving the person or firm furnishing the report.

- Information accepted by the CEO as confidential, shall not be transmitted to any governmental agency or to the general public by the CEO until and unless a ten (10) day notification is given the User.

- The PC shall have no authority to inquire into any processes, including metallurgical, chemical, oil refining, ceramic, paper, or other industries beyond that point of having a direct bearing on the kind and source of discharge of wastewater to the POTW for treatment.  [40 CFR 403.14]

- Publication of Industrial Users in Significant Noncompliance

- Conway Corporation shall publish annually in the largest daily newspaper published in Conway, Arkansas, a list of industrial users that during the previous twelve (12) months, were in significant noncompliance with applicable pretreatment standards and/or their Wastewater Discharge Permit [40 CFR 403.8(f)(2)(vii)].  The term significant noncompliance shall be, as defined by EPA, as follows:

Chronic violations of wastewater discharge limits, defined here as those in which sixty-six (66) percent or more of wastewater measurements taken during a six (6) month period exceeded (by any magnitude) a numeric Pretreatment Standard or Requirement, including Instantaneous Limits as defined in Section 2; [Note: Required Streamlining Rule Change, see 40 CFR 403.3(l)]

B.  Technical Review Criteria (TRC) violations, defined here as those in which thirty-three (33) percent or more of the wastewater measurements taken for each pollutant parameter during the six (6) month period equals or exceeds the product of the numeric Pretreatment Standard or Requirement including Instantaneous Limits, as defined by Section 2 multiplied by the applicable criteria (1.4 for BOD, TSS, fats, oils and grease, and 1.2 for all other pollutants except pH); [Note:  Required Streamlining Rule Change, see 40 CFR 403.3(l)]

C. Any other discharge violation that the CEO determines has caused, alone or in combination with other discharges, interference or pass through (including endangering the health of the general public or Conway corporation):

D. Any discharge of pollutants that has caused imminent endangerment to the    public or to the environment or has resulted in the Conway Corporation’s exercise of its emergency authority to halt or prevent such a discharge;

E. Failure to meet, within ninety (90) days of the scheduled date, a compliance   schedule milestone contained in the Wastewater Discharge Permit, or enforcement order for starting construction, completing construction, or attaining final compliance;

F. Failure to provide within Thirty (30) days after the due date any required reports, including baseline monitoring reports, ninety (90) day compliance reports, periodic self monitoring reports, and reports on progress in meeting compliance schedules;

G. Failure to accurately report noncompliance;

H. Any other violation, which may include a violation of Best Management Practices or group of violations that the CEO determines will adversely affect the operation or implementation of the local pretreatment program.

SECTION  5 – INDUSTRIAL SURCHARGE

- Costs

A. A User discharging industrial waste into the POTW that exhibits none of the characteristics of wastes prohibited in Section 2.1, above, other than excessive BOD or TSS, shall pretreat the waste so that the BOD or TSS concentrations do not exceed 250 mg/l (ppm), and an Oil and Grease concentration of 100 mg/L.  However, the CEO may accept the waste to be discharged to the POTW for treatment if all the following requirements are met:

1)	The waste will not cause damage to the wastewater   collection system.

2	The waste will not impair the City’s wastewater treatment processes.

3)	The BOD or TSS concentration of the waste discharged does not cause the average BOD or TSS at the influent of either of the City’s wastewater treatment plants to exceed 250 mg/l.

4)  The User, at the option of the CEO, may be billed according to the industrial Surcharge Formula in the Sewer Rate Ordinance No. 76-18, as amended for the excess BOD, TSS loading.

SECTION 6 – ENFORCEMENT

- Harmful Contributions

The CEO may immediately suspend the wastewater service and/or the Wastewater Discharge Permit of a User, after informal notice to the User, whenever such suspension is necessary in order to stop an actual or threatened discharge that, as determined by the CEO, presents or may present an imminent or substantial danger to the health or welfare of persons, poses a danger to the environment, causes interference to the POTW, or causes the City to violate any condition of its NPDES Permit.  The CEO may also immediately suspend a User’s discharge, after notice and opportunity to respond, that threatens to interfere with the operation of the POTW, or which presents, or may present, an endangerment to the environment.

Any User notified of a suspension of the wastewater service and/or the Wastewater Discharge Permit shall immediately stop or eliminate the contribution.  In the event of a failure of the person or firm to comply voluntarily with the suspension order, the CEO shall take such steps as deemed necessary, including immediate severance of the sewer connection to prevent or minimize damage to the POTW system, endangerment to any individual, or endangerment to the environment.  The CEO may reinstate the wastewater service and/or the Wastewater Discharge Permit when the User has demonstrated to the satisfaction of the CEO that the non-complying wastewater discharge has been eliminated.  The User that causes a non-complying wastewater discharge shall submit to the CEO a detailed report describing the cause of the non-complying discharge and explain the measures taken to prevent any future non-complying discharges, including if necessary any pretreatment processes added.  This written report shall be submitted to the CEO within fifteen (15) days of the date of said discharge.

- Revocation of Wastewater Discharge Permit

The CEO may revoke a Wastewater Discharge Permit for good cause, including, but not limited to, the following:

- A.	Failure to notify the CEO of significant changes in the wastewater discharge or of changed conditions prior to the changes being made;

- B.	Misrepresentation or failure to fully disclose all relevant facts in the Industrial Wastewater Questionnaire;

- C.	Falsifying self-monitoring reports;

- D.	Tampering with monitoring equipment;

- E.	Refusing to allow Conway Corporation timely access to the facility premises and/or records;

- G.	Failure to meet effluent limitations or compliance schedules;

- H.	Failure to pay fines or failure to pay sewer charges;

- I.	Failure to complete an Industrial Wastewater Questionnaire or a Baseline Monitoring Report;

- J.	Failure to provide advance notice of the transfer of business ownership of a permitted facility; or

- K.	Violation of any pretreatment standard or requirement, or any terms of the Wastewater Discharge Permit or this Ordinance.

Wastewater Discharge Permits may be voided upon a User’s cessation of operations.  All wastewater discharge permits issued to a particular User are void upon the issuance of a new wastewater discharge permit to that User.

  - Notification of Violation

When the CEO determines that a User has violated or is violating this           Ordinance, it’s Wastewater Discharge Permit, or any prohibition, the CEO may serve upon such person or firm a written notice stating the nature of the violation.  Within thirty (30) days of the date of the notice, the User shall submit a plan to the CEO for the satisfactory correction of the noted violation(s).  Nothing in this section shall limit the authority of the CEO to take action, including emergency actions or any other enforcement action, without first issuing a Notice of Violation.

- Show Cause Hearing

    - Notification of Hearing

The CEO may order any User who causes or allows an unauthorized discharge to enter the POTW to show cause why the proposed enforcement action should not be taken.  A notice shall be served on the User specifying the time and place of the hearing to be held by the CEO regarding the violation, the reasons why the action is to be taken, the proposed enforcement action, and directing the user to show cause before the CEO why the proposed enforcement action should not be taken.  The notice of the hearing shall be served personally or by registered or certified mail (return receipt requested) at least ten (10) days before the hearing.  Service may be made on any agent or officer of a User.

- Hearing

The CEO may himself conduct the hearing and take the evidence, or may designate an employee of the Corporation to:

- Issue in the name of the CEO notices of hearings requesting the attendance and testimony of witnesses and the production of evidence relevant to any matter involved in such hearing;

- Take the evidence;

- Transmit a report of the evidence and hearing, including transcripts and other evidence, together with recommendations to the CEO for action thereon.

- Transcription of Hearing

At any hearing held pursuant to this Ordinance, testimony shall be taken under oath and recorded stenographically.  The transcript, so recorded, will be made available to any member of the public or any party to the hearing upon request and payment of the usual charges thereof.

- Decision of the Chief Executive Officer

After the CEO has reviewed the evidence, he may issue an order to the User responsible for the discharge directing that, following a specified time period, the wastewater service will be discontinued unless adequate pretreatment facilities, devices, or other related appurtenances, shall have been installed on existing wastewater service and are properly operated and maintained.  Further orders and directives as are necessary and appropriate may be issued.

- Termination of Discharge

In addition to the provisions in Section 6.2 of this ordinance, any User who violates the following conditions is subject to discharge termination:

- Violation of wastewater discharge permit conditions;

- Failure to accurately report the wastewater constituents and characteristics of its discharge;

- Failure to report significant changes in operations or wastewater volume, constituents, and characteristics prior to discharge;

- Refusal of reasonable access to the User’s premises for the purpose of inspection, monitoring, or sampling; or

- Violation of the pretreatment standards in Section 2 of this ordinance.

Such User will be notified of the proposed termination of its discharge and be offered an opportunity to show cause under Section 6.4 of this ordinance why the proposed action should not be taken.  The exercise of this option by the CEO shall not be a bar to, or a prerequisite for, taking any other action against the User.  All cost involved in the termination of service shall be borne by the user.

- Consent Orders

The CEO may enter into consent orders, assurances of voluntary compliance, or other similar documents establishing an agreement with any User responsible for non-compliance.  Such documents will include specific action to be taken by the User to correct the non-compliance within the time period specified in the document.  Such documents shall have the same force and effect as the Administrative Orders issued pursuant to Sections 6.6 and 6.7 of this Ordinance and shall be judicially enforceable.

- Compliance Orders

When the CEO determines that a User has violated, or continues to violate, any provision of this Ordinance, a Wastewater Discharge Permit, an order issued hereunder, or any other pretreatment standard or requirement, he may issue an order to the User responsible for the discharge directing that the User come into compliance within a specified time.  If the User does not come into compliance within the time provided, wastewater service may be discontinued until adequate pretreatment facilities, devices, or other related equipment are installed, operating properly and bringing the User’s wastewater effluent into compliance with its Wastewater Discharge Permit and EPA Regulations.  Compliance orders also may contain other requirements to address the non-compliance, including additional monitoring and management practices designed to minimize the amount of pollutants discharged to the POTW.  A compliance order may not extend the deadline for compliance established for a pretreatment standard or requirement nor does it relieve the User of liability for any violation, including any continuing violation.  Issuance of a compliance order shall not be a bar against, or a prerequisite for, taking any other action against the User.

- Cease and Desist Orders

When the CEO determines that a User has violated, or continues to violate, any provision of this Ordinance, a Wastewater Discharge Permit, an order issued hereunder, any other pretreatment standard or requirement, or that the User’s past violations are likely to recur, he may issue an order to the User directing it to cease and desist all such violations and directing the User to:

- Immediately comply with all requirements; and

- Take such appropriate remedial or preventive action as may be needed to properly address a continuing or threatened violation, including halting operations and/or terminating the discharge.  Issuance of a cease and desist order shall not be a bar against, or a prerequisite for, taking any other action against the user.

- Legal Action

If any person or firm discharges wastewater, industrial wastes or other wastes into the City’s POTW contrary to the provisions of this Ordinance, Federal or State Pretreatment Requirements, or any order of the CEO, the City Attorney or the attorney for the Conway Corporation may commence an action for appropriate legal and/or equitable relief.

Section 7 – JUDICIAL ENFORCEMENT REMEDIES

7.1 Injunctive Relief

When the CEO determines that a User has violated, or continues to violate, any provision of this Ordinance, a Wastewater Discharge Permit, or order issued hereunder, or any other pretreatment standard or requirement, he may request that the Conway City Attorney or the attorney for the Conway Corporation petition the court to issue a temporary or permanent injunction, as appropriate, which restrains or compels the specific performance of the Wastewater Discharge Permit, order, or other requirement imposed by this Ordinance on activities of the User.  The CEO may also seek such other action as is appropriate for legal and/or equitable relief.  A petition for injunctive relief shall not prevent or be a prerequisite for taking any other action against a User.  [40CFR403.8(f)(1)(vi)(A)]

7.2 Civil Penalties

A.	A User who has violated, or continues to violate, any provision of this Ordinance, or Wastewater Discharge Permit, or order issued hereunder, or any other pretreatment standard or requirement shall be liable to the City of Conway for a maximum civil penalty of one thousand dollars ($1,000.00) per violation.  Each day on which a violation shall occur or continues shall be deemed a separate and distinct offense.

B.	The CEO may recover reasonable attorney’s fees, court costs, and other expenses associated with enforcement activities, including sampling and monitoring expenses, and the cost of any actual damages incurred by the City of Conway or the Conway Corporation.

C.	In determining the amount of civil liability the court shall take into account all relevant circumstances including, but not limited to, the extent of harm caused by the violation, the magnitude and duration of the violation, any economic benefit gained through the User’s violation, corrective actions by the User, the compliance history of the User, and any other factor as justice requires.

D.	Filing a suit for civil penalty shall not prevent or be a prerequisite for, taking any other action against a User.

- Criminal Prosecution

- A User who willfully or negligently violates any provision of this Ordinance, a Wastewater Discharge Permit, or order issued hereunder, any other pretreatment standard or requirement shall, upon conviction, be guilty of a misdemeanor, punishable by a fine of not more than one thousand dollars ($1,000.00) per violation, per day, or imprisonment for not more than six (6) months, or both.

- A User, who willfully or negligently introduces any substance into the POTW which causes personal injury or property damage shall, upon conviction, be guilty of a misdemeanor and be subject to a penalty of not more than one thousand dollars ($1,000.00), or be subject to imprisonment for not more than six (6) months, or both.  This penalty shall be in addition to any other cause of action for personal injury or property damage available under the State law.

- A User, who knowingly makes any false statements, representations, or certifications in any application, record, report, plan, or other documentation file, as required to be maintained, pursuant to this Ordinance, Wastewater Discharge Permit, or order issued hereunder, or who falsifies, tampers with, or knowingly renders inaccurate, any monitoring device or method required under this Ordinance shall, upon conviction, be punished by a fine of not more than one thousand dollars ($1,000.00) per violation, per day, or imprisonment for not more than six (6) months, or both.

- Remedies Nonexclusive

The remedies provided for in this Ordinance are not exclusive.  The CEO may take any, all, or any combination of these actions against a non-compliant User.  Enforcement of pretreatment violations will generally be in accordance with the City’s Enforcement Response Plan.  The CEO may take more than one enforcement action against a non-compliant User.

Nothing in this Ordinance shall preclude or preempt any enforcement remedies authorized under State law, including, but not limited to, those remedies prescribed in Arkansas Code Annotated Section 8-4-103.

SECTION  8 – AFFIRMATIVE DEFENSES TO DISCHARGE VIOLATIONS

- Upset [40 CFR 403.16].

- Definition.  For the purposes of this section, “upset” means an exceptional incident in which there is unintentional and temporary noncompliance with categorical pretreatment standards because of factors beyond the reasonable control of the User.  An upset does not include noncompliance to the extent caused by operational error, improperly designed treatment facilities, inadequate treatment facilities, lack of preventive maintenance, or careless or improper operation.

- Effect of an upset.  An upset shall constitute an affirmative defense to an action brought for noncompliance with categorical Pretreatment Standards if the requirements of paragraph C. are met.

- Conditions necessary for a demonstration of upset.  An Industrial User who wishes to establish the affirmative defense of upset shall demonstrate, through properly signed, contemporaneous operating logs, or other relevant evidence that:

  - An upset occurred and the Industrial User can identify the cause(s) of the upset;

  - The facility was at the time being operated in a prudent and workmanlike manner and in compliance with applicable operation and maintenance procedures;

  - The Industrial User has submitted the following information to the Control Authority and the POTW within 24 hours of becoming aware of the upset orally and in writing:

    - A description of the indirect discharge and cause of noncompliance;

    - The period of noncompliance, including exact dates and times or, if not corrected, the anticipated time the noncompliance is expected to continue;

    - Steps being taken and/or planned to reduce, eliminate and prevent recurrence of the

noncompliance.

  - Burden of proof.  In any enforcement proceeding the Industrial User seeking to establish the occurrence of an upset shall have the burden of proof.

  - Reviewability of Control Authority consideration of claims of upset.  In the usual exercise of prosecutorial discretion, Control Authority enforcement personnel should review any claims that noncompliance was caused by an upset.  No determinations made in the course of the review constitute final Control Authority action subject to judicial review.  Industrial Users will have the opportunity for judicial determination on any claim of upset only in an enforcement action brought for noncompliance with categorical Pretreatment Standards.

  - User responsibility in case of upset.  The Industrial User shall control production or all discharges to the extent necessary to maintain compliance with categorical Pretreatment Standards upon reduction, loss, or failure of its treatment facility until the facility is restored or an alternative method of treatment is provided.  This requirement applies in the situation where, among other things, the primary source of power of the treatment facility is reduced, lost or fails.

- Bypass [40 CFR 403.17].

        - Definitions.

          - Bypass means the intentional diversion of waste streams from any portion of an Industrial User’s treatment facility.

          - Severe property damage means substantial physical damage to property, damage to the treatment facilities that causes them to become inoperable, or substantial and permanent loss of natural resources that can reasonably be expected to occur in the absence of a bypass.  Severe property damage does not mean economic loss caused by delays in production.

            - Bypass not violating applicable Pretreatment Standards or Requirements.  An Industrial User may allow any bypass to occur which does not cause Pretreatment Standards or Requirements to be violated, but only if it also is for essential maintenance to assure efficient operation.  These bypasses are not subject to the provision of paragraphs C. and D. of this section.

            - Notice.

              - If an Industrial User knows in advance of the need for a bypass, it shall submit prior notice to the Control Authority, If possible at least ten (10) days before the date of the bypass.

              - An Industrial User shall submit oral notice of an unanticipated bypass that exceeds applicable Pretreatment Standards to the Control Authority within twenty-four (24) hours from the time the User becomes aware of the bypass.  A written submission shall contain a description of the bypass and its cause; the duration of the bypass, including exact dates and times, and, if the bypass has not been corrected, the anticipated time it is expected to continue; and steps taken or planned to reduce, eliminate, and prevent reoccurrence of the bypass.  The Control Authority may waive the written report on a case-by-case basis if the oral report has been received within twenty-four (24) hours.

            - Prohibition of bypass.

- Bypass is prohibited, and the Control Authority may take enforcement action against an Industrial User for a bypass, unless:

  - Bypass was unavoidable to prevent loss of life, personal injury, or severe property damage;

  - There were no feasible alternatives to the by pass, such as the use of auxiliary treatment facilities, retention of untreated wastes, or maintenance during normal periods of equipment downtime.  This condition is not satisfied if adequate back-up equipment should have been installed in the exercise of reasonable engineering judgment to prevent a bypass which occurred during normal periods of equipment downtime or preventative maintenance; and

  - The Industrial User submitted notices as required under paragraph C. of Section 8.2.

    - The Control Authority may approve an anticipated bypass, after considering its adverse effects, if it determines that it will meet the three conditions listed in paragraph D.(1) of this section.

# SECTION  9 – SEVERABILITY

If any provision, paragraph, word, section or article of this Ordinance is invalidated by any court of competent jurisdiction, the remaining provisions, paragraphs, words, sections, and chapters shall not be affected and shall continue in full force and effect.

SECTION 10 – CONFLICT

All other ordinances and parts of other ordinances inconsistent or conflicting with any part of this Ordinance are hereby repealed to the extent of such inconsistency or conflict.

SECTION  11 – EFFECTIVE DATE

Passed and adopted by the City Council of the City of Conway, Arkansas on this_________day of______________,___________.

APPROVED: _______________________________

Mayor

ATTEST:	________________________________

City Clerk